## General Summary
GENERAL SUMMARY
DESCRIPTION | TOTAL COST
Building A | 0
Building B | 0
Site | 0
TOTAL BASEBID | 0

## Building A
DETAILED BREAKDOWN OF ITEMS
Project Name
Project Address
[8 empty] | Scope: |  | Electrical
S# | Dwg. | CSI NO | DESCRIPTION | QTY. | Wastage | Qty w/ Waste | UNIT | UNIT LABOR COST | TOTAL LABOR COST | UNIT MATERIAL COST | TOTAL MATERIAL COST | UNIT PRICE (Labor & Material) | TRADE TOTAL
|  | 1 | DIVISION 01-GENERAL REQUIREMENTS
1 |  |  | Permits | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0
2 |  |  | Supervision and Coordination | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0
3 |  |  | Submittals and Shop drawings | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0
4 |  |  | Final Cleaning | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0
5 |  |  | Mobilization Costs | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0
6 |  |  | Temporary Control & Facilities | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0
7 |  |  | Scaffolding | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0
|  |  | SUBTOTAL | [9 empty] | 0
|  | 26 | DIVISION 26- ELECTRICAL
FEEDERS
CONDUITS
8 |  |  | 4"C Emt | 182 | 5% | 191.1 | LF | 0 | 0 | 0 | 0 | 0 | 0
9 |  |  | 4"C Lfmc | 10 | 5% | 10.5 | LF | 0 | 0 | 0 | 0 | 0 | 0
10 |  |  | 3"C Emt | 782 | 5% | 821.1 | LF | 0 | 0 | 0 | 0 | 0 | 0
11 |  |  | 3"C Lfmc | 12 | 5% | 12.6 | LF | 0 | 0 | 0 | 0 | 0 | 0
12 |  |  | 2-1/2"C Emt | 169 | 5% | 177.45 | LF | 0 | 0 | 0 | 0 | 0 | 0
13 |  |  | 2"C Emt | 40 | 5% | 42 | LF | 0 | 0 | 0 | 0 | 0 | 0
14 |  |  | 1-1/4"C Emt | 5239 | 5% | 5500.95 | LF | 0 | 0 | 0 | 0 | 0 | 0
15 |  |  | 1"C Emt | 55 | 5% | 57.75 | LF | 0 | 0 | 0 | 0 | 0 | 0
CONDUCTORS
16 |  |  | #600 Thhn | 152 | 5% | 159.6 | LF | 0 | 0 | 0 | 0 | 0 | 0
17 |  |  | #600 Thwn | 40 | 5% | 42 | LF | 0 | 0 | 0 | 0 | 0 | 0
18 |  |  | #500 Thhn | 3054 | 5% | 3206.7 | LF | 0 | 0 | 0 | 0 | 0 | 0
19 |  |  | #500 Thwn | 36 | 5% | 37.8 | LF | 0 | 0 | 0 | 0 | 0 | 0
20 |  |  | #350 Thhn | 576 | 5% | 604.8 | LF | 0 | 0 | 0 | 0 | 0 | 0
21 |  |  | #4/0 Thhn | 676 | 5% | 709.8 | LF | 0 | 0 | 0 | 0 | 0 | 0
22 |  |  | #3/0 Thhn | 160 | 5% | 168 | LF | 0 | 0 | 0 | 0 | 0 | 0
23 |  |  | #1 Thhn | 15600 | 5% | 16380 | LF | 0 | 0 | 0 | 0 | 0 | 0
24 |  |  | #3Thwn | 156 | 5% | 163.8 | LF | 0 | 0 | 0 | 0 | 0 | 0
25 |  |  | #6 Thhn | 5365 | 5% | 5633.25 | LF | 0 | 0 | 0 | 0 | 0 | 0
CIRCUIT BREAKERS
26 |  |  | 15A/1P Circuit Breaker | 852 | 0% | 852 | EA | 0 | 0 | 0 | 0 | 0 | 0
27 |  |  | 15A/2P Circuit Breaker | 4 | 0% | 4 | EA | 0 | 0 | 0 | 0 | 0 | 0
28 |  |  | 15A/3P Circuit Breaker | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
29 |  |  | 20A/1P Circuit Breaker | 178 | 0% | 178 | EA | 0 | 0 | 0 | 0 | 0 | 0
30 |  |  | 20A/2P Circuit Breaker | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | 0 | 0
31 |  |  | 25A/2P Circuit Breaker | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | 0 | 0
32 |  |  | 30A/1P Circuit Breaker | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | 0 | 0
33 |  |  | 30A/2P Circuit Breaker | 106 | 0% | 106 | EA | 0 | 0 | 0 | 0 | 0 | 0
34 |  |  | 30A/3P Circuit Breaker | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
35 |  |  | 40A/1P Circuit Breaker | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
36 |  |  | 40A/2P Circuit Breaker | 52 | 0% | 52 | EA | 0 | 0 | 0 | 0 | 0 | 0
37 |  |  | 50A/2P Circuit Breaker | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | 0 | 0
38 |  |  | 60A/3P Circuit Breaker | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
39 |  |  | 90A/3P Circuit Breaker | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
40 |  |  | 100A/2P Circuit Breaker | 4 | 0% | 4 | EA | 0 | 0 | 0 | 0 | 0 | 0
41 |  |  | 100A/3P Circuit Breaker | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
42 |  |  | 125A/2P Circuit Breaker | 4 | 0% | 4 | EA | 0 | 0 | 0 | 0 | 0 | 0
43 |  |  | 150A/3P Circuit Breaker | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
44 |  |  | 200A/3P Circuit Breaker | 4 | 0% | 4 | EA | 0 | 0 | 0 | 0 | 0 | 0
45 |  |  | 250A/3P Circuit Breaker | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | 0 | 0
46 |  |  | 400A/3P Circuit Breaker | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
PANELS
47 |  |  | 2A, 225A MLO, 120/208V, 3P, 4W, Surface Mounted, Nema1 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
48 |  |  | 2MA, 225A MLO, 120/208V, 3P, 4W, Surface Mounted, Nema1 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
49 |  |  | 2HF, 225A MLO,120/208V, 3P, 4W, Surface Mounted, Nema1 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
50 |  |  | 2CPA, 225A MLO, 120/208V, 3P, 4W, Surface Mounted, Nema1 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
51 |  |  | 6MA, 225A MLO, 347/600V, 3P, 4W, Surface Mounted, Nema1 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
52 |  |  | CDP-2A, 600A, 120/208V, 3P, 4W, NEMA1 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
53 |  |  | CDP-6A, 400A, 347/600V, 3P, 4W, Nema1 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
54 |  |  | MC-SA1, 1200A, 120/208V, 3P, Nema1 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
55 |  |  | MC-SA3, 1200A, 120/208V, 3P, Nema1 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
56 |  |  | Unit Panel, 125A, 120/208V, 1PH Nema 1 | 52 | 0% | 52 | EA | 0 | 0 | 0 | 0 | 0 | 0
57 |  |  | MDP 6A, 800A, 347/600V, 3P, 4W, Nema1 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
EQUIPMENTS
58 |  |  | Utility House Meter W/ CT | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
59 |  |  | Remote Temperature Sensor | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
60 |  |  | SPD: Surge Protective Device | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
61 |  |  | T-2HA, 150KVA, 600/120-208V, 3P, 4W, Nema3R, WP | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
62 |  |  | T-MC-SA1, 225KVA, 600/120-208V, 3P, 4W, Nema3R, WP | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
63 |  |  | T-MC-SA3, 225KVA, 600/120-208V, 3P, 4W, Nema3R, WP | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
DISCONNECT SWITCHES
64 |  |  | 30A/1P Disconnect Switch, Non Fused, Nema1 | 15 | 0% | 15 | EA | 0 | 0 | 0 | 0 | 0 | 0
65 |  |  | 30A/2P Disconnect Switch, Non Fused, Nema1 | 111 | 0% | 111 | EA | 0 | 0 | 0 | 0 | 0 | 0
66 |  |  | 50A/2P Disconnect Switch, Non Fused, Nema1 | 52 | 0% | 52 | EA | 0 | 0 | 0 | 0 | 0 | 0
67 |  |  | 60A/1P Disconnect Switch, Non Fused, Nema1 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
68 |  |  | 60A/2P Disconnect Switch, Non Fused, Nema1 | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | 0 | 0
69 |  |  | 60A/3P Disconnect Switch, Non Fused, NEMA1 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
EQUIPMENT CONNECTIONS
70 |  |  | Equipment Connection for EF | 6 | 0% | 6 | EA | 0 | 0 | 0 | 0 | 0 | 0
71 |  |  | Equipment Connection For HRV | 3 | 0% | 3 | EA | 0 | 0 | 0 | 0 | 0 | 0
72 |  |  | Equipment Connection For MAU | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
73 |  |  | Equipment Connection For MD | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
74 |  |  | Equipment Connection For P | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
75 |  |  | Equipment Connection For PTAC | 3 | 0% | 3 | EA | 0 | 0 | 0 | 0 | 0 | 0
76 |  |  | Equipment Connection For SD | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
77 |  |  | Equipment Connection For SP | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
78 |  |  | Equipment Connection of EFF | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
LIGHTING CIRCUITS
CONDUITS
79 |  |  | 3/4"C Emt | 90827 | 5% | 95368.35 | LF | 0 | 0 | 0 | 0 | 0 | 0
CONDUCTORS
80 |  |  | #12 Thhn | 363308 | 5% | 381473.4 | LF | 0 | 0 | 0 | 0 | 0 | 0
POWER CIRCUITS
CONDUITS
81 |  |  | 3/4"C Emt | 192756 | 5% | 202393.8 | LF | 0 | 0 | 0 | 0 | 0 | 0
82 |  |  | 3/4"C Flex s | 161 | 5% | 169.05 | LF | 0 | 0 | 0 | 0 | 0 | 0
CONDUCTORS
83 |  |  | #8 Thhn | 23496 | 5% | 24670.8 | LF | 0 | 0 | 0 | 0 | 0 | 0
84 |  |  | #10 Thhn | 123358 | 5% | 129525.9 | LF | 0 | 0 | 0 | 0 | 0 | 0
85 |  |  | #12 Thhn | 432069 | 5% | 453672.45 | LF | 0 | 0 | 0 | 0 | 0 | 0
LIGHT FIXTURES
86 |  |  | 100, CEILING OR WALL MOUNTED/ 4FT LENSED STRIP LED, SIGNIFY DAY-BRITE CFI #FSSEZ 440L835UNV | 18 | 0% | 18 | EA | 0 | 0 | 0 | 0 | 0 | 0
87 |  |  | 101, SURFACE MOUNT UNDER CANOPY / EXTERIOR DOORS / SURFACE MOUNT, SIGNIFY GARDCO #SDR7R099301W | 4 | 0% | 4 | EA | 0 | 0 | 0 | 0 | 0 | 0
88 |  |  | 102, LED VANITY LIGHT, EE LIGHTING #VL-T2001-LED-2200-26-120-3000K-85 | 3 | 0% | 3 | EA | 0 | 0 | 0 | 0 | 0 | 0
89 |  |  | 103, 7" LOBBY / CENTER CORRIDOR / SURFACE MOUNT, SIGNIFY LIGHTOLIER #SD7R099301W | 119 | 0% | 119 | EA | 0 | 0 | 0 | 0 | 0 | 0
90 |  |  | 104, 5" LOBBY / ABOVE SUITE DOORS / SURFACE MOUNT, SIGNIFY LIGHTOLIER #S5R835K7 | 63 | 0% | 63 | EA | 0 | 0 | 0 | 0 | 0 | 0
91 |  |  | 105, ATTIC LIGHTING; KEYLESS LAMPHOLDER C/W WIRE GUARD AND LONG LIFE LED RETRO-FIT LAMPS, #PORCELAIN KEYLESS | 7 | 0% | 7 | EA | 0 | 0 | 0 | 0 | 0 | 0
92 |  |  | 106, 4FT SURFACE MOUNTED / LED STRIP LIGHT c/w INTEGRAL MOTION SENSOR, SIGNIFY DAY-BRITE CFI #FSS 4 40L 835 120 DIM LSXR10 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
93 |  |  | 107, STAIRWELL LIGHT / 4FT SURFACE MOUNTED / LED STRIP LIGHT / MOTION / STEP DIMMING 40%, SIGNIFY DAY-BRITE CFI #FSS 4 40L 835 120 DIM SDIM | 16 | 0% | 16 | EA | 0 | 0 | 0 | 0 | 0 | 0
94 |  |  | BP1, BATTERY PACK/12V LED HEADS AS SHOWN ON PLANS/ SIZED FOR MINIMUM 30 MINUTES RUN TIME, STANPRO #SLA-12072-2N-5LJ-WH-AT | 5 | 0% | 5 | EA | 0 | 0 | 0 | 0 | 0 | 0
95 |  |  | BP2, BATTERY PACK/NO HEAD/ SIZED FOR MINIMUM 30 MINUTES RUN TIME, STANPRO #SLB-12100-00-WH | 4 | 0% | 4 | EA | 0 | 0 | 0 | 0 | 0 | 0
96 |  |  | EX1, GREEN RUNNING MAN PICTOGRAM EXIT SIGN/PROVIDE UNIVERSAL MOUNTING AS SHOWN/SELF POWERED 30 MINUTES RUN TIME, STANPRO #RMS-O-WH-IB-AT | 18 | 0% | 18 | EA | 0 | 0 | 0 | 0 | 0 | 0
97 |  |  | EX2, GREEN RUNNING MAN COMBO PICTOGRAM EXIT SIGN & BATTERY UNIT c/w 2 LED HEADS/ PROVIDE UNIVERSAL MOUNTING AS SHOWN/MINIMUM 30 MINUTE BATTERY RUN TIME, STANPRO #PRMS-1036-0-2N-5LJ-AT | 3 | 0% | 3 | EA | 0 | 0 | 0 | 0 | 0 | 0
98 |  |  | EX3, GREEN RUNNING MAN PICTOGRAM EXIT SIGN / UNIVERSAL MOUNTING / SELF POWERED MINIMUM 30 MINUTES RUN TIME / COLD WEATHER RATED, STANPRO #RMRN-1-WH-IB-AT-CW | 4 | 0% | 4 | EA | 0 | 0 | 0 | 0 | 0 | 0
99 |  |  | RH1, 12V/REMOTE EMERGENCY HEAD/CONNECT TO EMERGENCY BATTERY PACK, STANPRO #S212-5W-LA-WH | 11 | 0% | 11 | EA | 0 | 0 | 0 | 0 | 0 | 0
100 |  |  | RH2, 12V/REMOTE EMERGENCY HEAD/CONNECT TO EMERGENCY BATTERY PACK/WEATHERPROOF RATED, STANPRO #SWP-2-12-5W-GY | 7 | 0% | 7 | EA | 0 | 0 | 0 | 0 | 0 | 0
101 |  |  | 01, SURFACE MOUNT DOWN LIGHT, ARTIKA PRO #SKYLIGHT 9" 9FLPR-SP3-WH | 398 | 0% | 398 | EA | 0 | 0 | 0 | 0 | 0 | 0
102 |  |  | 02, LED VANITY LIGHT WITH BRUSHED NICKEL PLATED FINISH, ARTIKA PRO #24VAN-NU-BN10TE-J | 93 | 0% | 93 | EA | 0 | 0 | 0 | 0 | 0 | 0
103 |  |  | 03, FLUSH MOUNT FIXTURE WITH MARBLED GLASS SHADE, PEWTER, 3000K BULBS, GALAXY LIGHTING #680112MB/PT | 59 | 0% | 59 | EA | 0 | 0 | 0 | 0 | 0 | 0
104 |  |  | 04, FLUSH MOUNT FIXTURE WITH MARBLED GLASS SHADE, PEWTER, 3000K BULBS, GALAXY LIGHTING #680116MB/PT | 131 | 0% | 131 | EA | 0 | 0 | 0 | 0 | 0 | 0
LIGHTING CONTROLS
105 |  |  | Three Way Switch | 144 | 0% | 144 | EA | 0 | 0 | 0 | 0 | 0 | 0
106 |  |  | Vacancy Sensor Switch | 9 | 0% | 9 | EA | 0 | 0 | 0 | 0 | 0 | 0
107 |  |  | Lighting Control Cabinet | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
108 |  |  | Low Voltage Vacancy Switch | 8 | 0% | 8 | EA | 0 | 0 | 0 | 0 | 0 | 0
109 |  |  | Vacancy Sensor Three Way Switch | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | 0 | 0
110 |  |  | Vacancy Sensor, Ceiling Mounted | 10 | 0% | 10 | EA | 0 | 0 | 0 | 0 | 0 | 0
POWER DEVICES
111 |  |  | 30A/1P/208V, Special Receptacle | 52 | 0% | 52 | EA | 0 | 0 | 0 | 0 | 0 | 0
112 |  |  | 40A/1P/208V, Special Receptacle | 52 | 0% | 52 | EA | 0 | 0 | 0 | 0 | 0 | 0
113 |  |  | Duplex Receptacle GFCI TR | 249 | 0% | 249 | EA | 0 | 0 | 0 | 0 | 0 | 0
114 |  |  | Duplex Receptacle GFCI TR WP | 52 | 0% | 52 | EA | 0 | 0 | 0 | 0 | 0 | 0
115 |  |  | Duplex Receptacle TR | 1131 | 0% | 1131 | EA | 0 | 0 | 0 | 0 | 0 | 0
116 |  |  | Junction Box | 194 | 0% | 194 | EA | 0 | 0 | 0 | 0 | 0 | 0
LOW VOLTAGE (Rough In's Only)
CONDUITS
117 |  |  | 1"C Emt | 4074 | 5% | 4277.7 | LF | 0 | 0 | 0 | 0 | 0 | 0
118 |  |  | Pullstring | 4074 | 5% | 4277.7 | LF | 0 | 0 | 0 | 0 | 0 | 0
DEVICES
119 |  |  | Back Box | 709 | 0% | 709 | EA | 0 | 0 | 0 | 0 | 0 | 0
120 |  |  | Cable TV Cabinets | 2 | 0% | 2 | EA
121 |  |  | Data Oulet | 161 | 0% | 161 | EA
122 |  |  | (4) Data Network Jack | 2 | 0% | 2 | EA
123 |  |  | 4 Door Controller | 3 | 0% | 3 | EA
124 |  |  | Cable TV Cabinets | 2 | 0% | 2 | EA
125 |  |  | Card Reader | 10 | 0% | 10 | EA
126 |  |  | Communicator | 1 | 0% | 1 | EA
127 |  |  | Data Network Jack | 7 | 0% | 7 | EA
128 |  |  | Door Contact | 6 | 0% | 6 | EA
129 |  |  | Electric Strike | 8 | 0% | 8 | EA
130 |  |  | Glass Break Sensor | 4 | 0% | 4 | EA
131 |  |  | Keypad | 5 | 0% | 5 | EA
132 |  |  | Request To Exit | 4 | 0% | 4 | EA
133 |  |  | Security Camera | 9 | 0% | 9 | EA
134 |  |  | Tele Coax Outlet | 2 | 0% | 2 | EA
135 |  |  | Thermostat | 62 | 0% | 62 | EA
136 |  |  | Wall Mounted Motion Sensor | 3 | 0% | 3 | EA
137 |  |  | Ceiing Smoke Alarm | 418 | 0% | 418 | EA
FIRE ALARM (Rough In's Only)
CONDUITS
138 |  |  | 1"C Emt | 3626 | 5% | 3807.3 | LF | 0 | 0 | 0 | 0 | 0 | 0
139 |  |  | Pullstring | 3626 | 5% | 3807.3 | LF | 0 | 0 | 0 | 0 | 0 | 0
DEVICES
140 |  |  | Back Box | 253 | 0% | 253 | EA | 0 | 0 | 0 | 0 | 0 | 0
141 |  |  | Fire Monitoring Control Panel | 1 | 0% | 1 | EA
142 |  |  | Intrusion Alarm Panel | 1 | 0% | 1 | EA
143 |  |  | Main Fire Alarm Panel | 1 | 0% | 1 | EA
144 |  |  | Combination Smoke/Co Alarm | 1 | 0% | 1 | EA
145 |  |  | Duct Smoke Detector | 1 | 0% | 1 | EA
146 |  |  | Fire Alarm Beacon WP | 1 | 0% | 1 | EA
147 |  |  | Fire Monitoring Control Panel | 1 | 0% | 1 | EA
148 |  |  | Heat Detector FT | 1 | 0% | 1 | EA
149 |  |  | Horn Strobe | 34 | 0% | 34 | EA
150 |  |  | Intrusion Alarm Panel | 1 | 0% | 1 | EA
151 |  |  | Main Fire Alarm Panel | 1 | 0% | 1 | EA
152 |  |  | Manual Station | 12 | 0% | 12 | EA
153 |  |  | Monitoring Module | 7 | 0% | 7 | EA
154 |  |  | Smoke Detector | 34 | 0% | 34 | EA
155 |  |  | Strobe | 162 | 0% | 162 | EA
|  |  | SUBTOTAL | [9 empty] | 0
[7 empty] | TOTAL LABOR COST |  | 0 | TOTAL MATERIAL COST | 0
|  |  | TOTAL AMOUNT | [9 empty] | 0
|  |  | CONTIGENCIES (5%) | [5 empty] | 5% |  |  |  | 0
|  |  | OVERHEAD & PROFIT (20%) | [5 empty] | 20% |  |  |  | 0
|  |  | TAX (6%) | [5 empty] | 6% |  |  |  | 0
|  |  | INSURANCE | [5 empty] | 5% |  |  |  | 0
|  |  | TOTAL BASEBID | [9 empty] | 0

## Building B
DETAILED BREAKDOWN OF ITEMS
[8 empty] | Project Name |  | VISTA GREEN APARTMENTS
[8 empty] | Project Address |  | MARTENSVILLE, SK
[8 empty] | Scope: |  | Electrical
S# | Dwg. | CSI NO | DESCRIPTION | QTY. | Wastage | Qty w/ Waste | UNIT | UNIT LABOR COST | TOTAL LABOR COST | UNIT MATERIAL COST | TOTAL MATERIAL COST | UNIT PRICE (Labor & Material) | TRADE TOTAL
|  | 1 | DIVISION 01-GENERAL REQUIREMENTS
1 |  |  | Permits | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0
2 |  |  | Supervision and Coordination | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0
3 |  |  | Submittals and Shop drawings | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0
4 |  |  | Final Cleaning | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0
5 |  |  | Mobilization Costs | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0
6 |  |  | Temporary Control & Facilities | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0
7 |  |  | Scaffolding | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0
|  |  | SUBTOTAL | [9 empty] | 0
|  | 26 | DIVISION 26- ELECTRICAL
FEEDERS
CONDUITS
8 |  |  | 4"C Emt | 164 | 5% | 172.2 | LF | 0 | 0 | 0 | 0 | 0 | 0
9 |  |  | 4"C Lfmc | 6 | 5% | 6.3 | LF | 0 | 0 | 0 | 0 | 0 | 0
10 |  |  | 3"C Emt | 793 | 5% | 832.65 | LF | 0 | 0 | 0 | 0 | 0 | 0
11 |  |  | 3"C Lfmc | 12 | 5% | 12.6 | LF | 0 | 0 | 0 | 0 | 0 | 0
12 |  |  | 2-1/2"C Emt | 93 | 5% | 97.65 | LF | 0 | 0 | 0 | 0 | 0 | 0
13 |  |  | 2"C Emt | 44 | 5% | 46.2 | LF | 0 | 0 | 0 | 0 | 0 | 0
14 |  |  | 1-1/4"C Emt | 5429 | 5% | 5700.45 | LF | 0 | 0 | 0 | 0 | 0 | 0
15 |  |  | 1"C Emt | 55 | 5% | 57.75 | LF | 0 | 0 | 0 | 0 | 0 | 0
CONDUCTORS
16 |  |  | #600 Thhn | 128 | 5% | 134.4 | LF | 0 | 0 | 0 | 0 | 0 | 0
17 |  |  | #600 Thwn | 24 | 5% | 25.2 | LF | 0 | 0 | 0 | 0 | 0 | 0
18 |  |  | #500 Thhn | 3096 | 5% | 3250.8 | LF | 0 | 0 | 0 | 0 | 0 | 0
19 |  |  | #500 Thwn | 36 | 5% | 37.8 | LF | 0 | 0 | 0 | 0 | 0 | 0
20 |  |  | #350 Thhn | 528 | 5% | 554.4 | LF | 0 | 0 | 0 | 0 | 0 | 0
21 |  |  | #4/0 Thhn | 372 | 5% | 390.6 | LF | 0 | 0 | 0 | 0 | 0 | 0
22 |  |  | #3/0 Thhn | 176 | 5% | 184.8 | LF | 0 | 0 | 0 | 0 | 0 | 0
23 |  |  | #1 Thhn | 16200 | 5% | 17010 | LF | 0 | 0 | 0 | 0 | 0 | 0
24 |  |  | #3Thwn | 116 | 5% | 121.8 | LF | 0 | 0 | 0 | 0 | 0 | 0
25 |  |  | #6 Thhn | 5565 | 5% | 5843.25 | LF | 0 | 0 | 0 | 0 | 0 | 0
CIRCUIT BREAKERS
26 |  |  | 15A/1P Circuit Breaker | 843 | 0% | 843 | EA | 0 | 0 | 0 | 0 | 0 | 0
27 |  |  | 15A/2P Circuit Breaker | 4 | 0% | 4 | EA | 0 | 0 | 0 | 0 | 0 | 0
28 |  |  | 15A/3P Circuit Breaker | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
29 |  |  | 20A/1P Circuit Breaker | 170 | 0% | 170 | EA | 0 | 0 | 0 | 0 | 0 | 0
30 |  |  | 20A/2P Circuit Breaker | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | 0 | 0
31 |  |  | 25A/2P Circuit Breaker | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | 0 | 0
32 |  |  | 30A/2P Circuit Breaker | 72 | 0% | 72 | EA | 0 | 0 | 0 | 0 | 0 | 0
33 |  |  | 30A/1P Circuit Breaker | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
34 |  |  | 30A/3P Circuit Breaker | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
35 |  |  | 40A/2P Circuit Breaker | 90 | 0% | 90 | EA | 0 | 0 | 0 | 0 | 0 | 0
36 |  |  | 50A/2P Circuit Breaker | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
37 |  |  | 60A/3P Circuit Breaker | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
38 |  |  | 100A/2P Circuit Breaker | 4 | 0% | 4 | EA | 0 | 0 | 0 | 0 | 0 | 0
39 |  |  | 100A/3P Circuit Breaker | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
40 |  |  | 125A/2P Circuit Breaker | 4 | 0% | 4 | EA | 0 | 0 | 0 | 0 | 0 | 0
41 |  |  | 150A/3P Circuit Breaker | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
42 |  |  | 200A/3P Circuit Breaker | 3 | 0% | 3 | EA | 0 | 0 | 0 | 0 | 0 | 0
43 |  |  | 250A/3P Circuit Breaker | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | 0 | 0
44 |  |  | 400A/3P Circuit Breaker | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 0 | 0 | 0 | 0 | 0
PANELS
45 |  |  | 2B, 225A MLO, 120/208V, 3P, 4W, Surface Mounted, Nema1 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
46 |  |  | 2MB, 225A MLO, 120/208V, 3P, 4W, Surface Mounted, Nema1 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
47 |  |  | 2CPB, 225A MLO, 120/208V, 3P, 4W, Surface Mounted, Nema1 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
48 |  |  | 6MB, 225A MLO, 347/600V, 3P, 4W, Surface Mounted, Nema1 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
49 |  |  | CDP-2HB, 600A, 120/208V, 3P, 4W, NEMA1 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
50 |  |  | CDP-6B, 400A, 347/600V, 3P, 4W, Nema1 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
51 |  |  | MC-SB1, 1200A, 120/208V, 3P, Nema1 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
52 |  |  | MC-SB3, 1200A, 120/208V, 3P, Nema1 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
53 |  |  | MDP 6B, 800A, 347/600V, 3P, 4W, Nema1 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
EQUIPMENTS
54 |  |  | Utility House Meter W/ CT | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
55 |  |  | Remote Temperature Sensor | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
56 |  |  | SPD: Surge Protective Device | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
57 |  |  | T-2HB, 150KVA, 600/120-208V, 3P, 4W, Nema3R, WP | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
58 |  |  | T-MC-SB1, 225KVA, 600/120-208V, 3P, 4W, Nema3R, WP | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
59 |  |  | T-MC-SB3, 225KVA, 600/120-208V, 3P, 4W, Nema3R, WP | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
DISCONNECT SWITCHES
60 |  |  | 30A/1P Disconnect Switch, Non Fused, Nema1 | 8 | 0% | 8 | EA | 0 | 0 | 0 | 0 | 0 | 0
61 |  |  | 30A/2P Disconnect Switch, Non Fused, Nema1 | 113 | 0% | 113 | EA | 0 | 0 | 0 | 0 | 0 | 0
62 |  |  | 30A/3P Disconnect Switch, Non Fused, Nema1 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
63 |  |  | 60A/1P Disconnect Switch, Non Fused, Nema1 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
64 |  |  | 60A/2P Disconnect Switch, Non Fused, Nema1 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
65 |  |  | 60A/3P Disconnect Switch, Non Fused, NEMA1 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
66 |  |  | 50A/2P Disconnect Switch, Non Fused, Nema1 | 54 | 0% | 54 | EA | 0 | 0 | 0 | 0 | 0 | 0
EQUIPMENT CONNECTIONS
67 |  |  | Equipment Connection for EF | 3 | 0% | 3 | EA | 0 | 0 | 0 | 0 | 0 | 0
68 |  |  | Equipment Connection For MAU | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
69 |  |  | Equipment Connection For MD | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
70 |  |  | Equipment Connection For P | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
71 |  |  | Equipment Connection For SD | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
72 |  |  | Equipment Connection For SP | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
73 |  |  | Equipment Connection of EFF | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
LIGHTING CIRCUITS
CONDUITS
74 |  |  | 3/4"C Emt | 84885 | 5% | 89129.25 | LF | 0 | 0 | 0 | 0 | 0 | 0
75 |  |  | 3/4"C Flex s | 9 | 5% | 9.45 | LF | 0 | 0 | 0 | 0 | 0 | 0
CONDUCTORS
76 |  |  | #10 Thhn | 3558 | 5% | 3735.9 | LF | 0 | 0 | 0 | 0 | 0 | 0
77 |  |  | #12 Thhn | 252721 | 5% | 265357.05 | LF | 0 | 0 | 0 | 0 | 0 | 0
POWER CIRCUITS
CONDUITS
78 |  |  | 3/4"C Emt | 127923 | 5% | 134319.15 | LF | 0 | 0 | 0 | 0 | 0 | 0
CONDUCTORS
79 |  |  | #10 Thhn | 11601 | 5% | 12181.05 | LF | 0 | 0 | 0 | 0 | 0 | 0
80 |  |  | #12 Thhn | 493197 | 5% | 517856.85 | LF | 0 | 0 | 0 | 0 | 0 | 0
LIGHT FIXTURES
81 |  |  | 100, CEILING OR WALL MOUNTED/ 4FT LENSED STRIP LED, SIGNIFY DAY-BRITE CFI #FSSEZ 440L835UNV | 19 | 0% | 19 | EA | 0 | 0 | 0 | 0 | 0 | 0
82 |  |  | 101, SURFACE MOUNT UNDER CANOPY / EXTERIOR DOORS / SURFACE MOUNT, SIGNIFY GARDCO #SDR7R099301W | 4 | 0% | 4 | EA | 0 | 0 | 0 | 0 | 0 | 0
83 |  |  | 103, 7" LOBBY / CENTER CORRIDOR / SURFACE MOUNT, SIGNIFY LIGHTOLIER #SD7R099301W | 51 | 0% | 51 | EA | 0 | 0 | 0 | 0 | 0 | 0
84 |  |  | 104, 5" LOBBY / ABOVE SUITE DOORS / SURFACE MOUNT, SIGNIFY LIGHTOLIER #S5R835K7 | 69 | 0% | 69 | EA | 0 | 0 | 0 | 0 | 0 | 0
85 |  |  | 105, ATTIC LIGHTING; KEYLESS LAMPHOLDER C/W WIRE GUARD AND LONG LIFE LED RETRO-FIT LAMPS, #PORCELAIN KEYLESS | 7 | 0% | 7 | EA | 0 | 0 | 0 | 0 | 0 | 0
86 |  |  | 106, 4FT SURFACE MOUNTED / LED STRIP LIGHT c/w INTEGRAL MOTION SENSOR, SIGNIFY DAY-BRITE CFI #FSS 4 40L 835 120 DIM LSXR10 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
87 |  |  | 107, STAIRWELL LIGHT / 4FT SURFACE MOUNTED / LED STRIP LIGHT / MOTION / STEP DIMMING 40%, SIGNIFY DAY-BRITE CFI #FSS 4 40L 835 120 DIM SDIM | 16 | 0% | 16 | EA | 0 | 0 | 0 | 0 | 0 | 0
88 |  |  | BP1, BATTERY PACK/12V LED HEADS AS SHOWN ON PLANS/ SIZED FOR MINIMUM 30 MINUTES RUN TIME, STANPRO #SLA-12072-2N-5LJ-WH-AT | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
89 |  |  | EX1, GREEN RUNNING MAN PICTOGRAM EXIT SIGN/PROVIDE UNIVERSAL MOUNTING AS SHOWN/SELF POWERED 30 MINUTES RUN TIME, STANPRO #RMS-O-WH-IB-AT | 16 | 0% | 16 | EA | 0 | 0 | 0 | 0 | 0 | 0
90 |  |  | EX2, GREEN RUNNING MAN COMBO PICTOGRAM EXIT SIGN & BATTERY UNIT c/w 2 LED HEADS/ PROVIDE UNIVERSAL MOUNTING AS SHOWN/MINIMUM 30 MINUTE BATTERY RUN TIME, STANPRO #PRMS-1036-0-2N-5LJ-AT | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
91 |  |  | EX3, GREEN RUNNING MAN PICTOGRAM EXIT SIGN / UNIVERSAL MOUNTING / SELF POWERED MINIMUM 30 MINUTES RUN TIME / COLD WEATHER RATED, STANPRO #RMRN-1-WH-IB-AT-CW | 4 | 0% | 4 | EA | 0 | 0 | 0 | 0 | 0 | 0
92 |  |  | RH1, 12V/REMOTE EMERGENCY HEAD/CONNECT TO EMERGENCY BATTERY PACK, STANPRO #S212-5W-LA-WH | 3 | 0% | 3 | EA | 0 | 0 | 0 | 0 | 0 | 0
93 |  |  | RH2, 12V/REMOTE EMERGENCY HEAD/CONNECT TO EMERGENCY BATTERY PACK/WEATHERPROOF RATED, STANPRO #SWP-2-12-5W-GY | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | 0 | 0
94 |  |  | 01, SURFACE MOUNT DOWN LIGHT, ARTIKA PRO #SKYLIGHT 9" 9FLPR-SP3-WH | 388 | 0% | 388 | EA | 0 | 0 | 0 | 0 | 0 | 0
95 |  |  | 02, LED VANITY LIGHT WITH BRUSHED NICKEL PLATED FINISH, ARTIKA PRO #24VAN-NU-BN10TE-J | 86 | 0% | 86 | EA | 0 | 0 | 0 | 0 | 0 | 0
96 |  |  | 03, FLUSH MOUNT FIXTURE WITH MARBLED GLASS SHADE, PEWTER, 3000K BULBS, GALAXY LIGHTING #680112MB/PT | 55 | 0% | 55 | EA | 0 | 0 | 0 | 0 | 0 | 0
97 |  |  | 04, FLUSH MOUNT FIXTURE WITH MARBLED GLASS SHADE, PEWTER, 3000K BULBS, GALAXY LIGHTING #680116MB/PT | 107 | 0% | 107 | EA | 0 | 0 | 0 | 0 | 0 | 0
LIGHTING CONTROLS
98 |  |  | Lighting Control Cabinet | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
99 |  |  | Low Voltage Vacancy Switch | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | 0 | 0
100 |  |  | S, Single pole Switch | 478 | 0% | 478 | EA | 0 | 0 | 0 | 0 | 0 | 0
101 |  |  | Vacancy Sensor Switch | 3 | 0% | 3 | EA | 0 | 0 | 0 | 0 | 0 | 0
102 |  |  | Vacancy Sensor, Ceiling Mounted | 4 | 0% | 4 | EA | 0 | 0 | 0 | 0 | 0 | 0
103 |  |  | Three Pole Switch | 139 | 0% | 139 | EA | 0 | 0 | 0 | 0 | 0 | 0
POWER DEVICES
104 |  |  | 1-20A T-SLOT CORRIDOR RECEPTACLE GFCI TR | 7 | 0% | 7 | EA | 0 | 0 | 0 | 0 | 0 | 0
105 |  |  | 1-20A T-SLOT CORRIDOR RECEPTACLE TR | 18 | 0% | 18 | EA | 0 | 0 | 0 | 0 | 0 | 0
106 |  |  | 1FP-DPP-1-DR45-1 Duplex Receptacle Pedestal | 5 | 0% | 5 | EA | 0 | 0 | 0 | 0 | 0 | 0
107 |  |  | 1FP-DPP-2-DR45-2 Double Duplex Receptacle Pedestal | 32 | 0% | 32 | EA | 0 | 0 | 0 | 0 | 0 | 0
108 |  |  | 120V, 20A, GFCI RECEPTACLE | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
109 |  |  | Ceiling Mounted Junction Box | 27 | 0% | 27 | EA | 0 | 0 | 0 | 0 | 0 | 0
110 |  |  | Duplex Receptacle GFCI TR | 7 | 0% | 7 | EA | 0 | 0 | 0 | 0 | 0 | 0
111 |  |  | Duplex Receptacle GFCI WP | 4 | 0% | 4 | EA | 0 | 0 | 0 | 0 | 0 | 0
112 |  |  | Duplex Receptacle TR | 67 | 0% | 67 | EA | 0 | 0 | 0 | 0 | 0 | 0
113 |  |  | Duplex Receptacle USB TR | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | 0 | 0
114 |  |  | Floor Mounted Duplex Receptacle TR | 4 | 0% | 4 | EA | 0 | 0 | 0 | 0 | 0 | 0
115 |  |  | Junction Box | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
116 |  |  | Leviton #4976-GY Cover Duplex Receptacle GFCI WP | 69 | 0% | 69 | EA | 0 | 0 | 0 | 0 | 0 | 0
117 |  |  | Push Button | 19 | 0% | 19 | EA | 0 | 0 | 0 | 0 | 0 | 0
118 |  |  | Quad Receptacle TR | 8 | 0% | 8 | EA | 0 | 0 | 0 | 0 | 0 | 0
119 |  |  | 1-20A T-SLOT CORRIDOR RECEPTACLE GFCI TR | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
120 |  |  | 1-20A T-SLOT CORRIDOR RECEPTACLE TR | 9 | 0% | 9 | EA | 0 | 0 | 0 | 0 | 0 | 0
121 |  |  | 120V, 20A, GFCI RECEPTACLE | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
122 |  |  | Ceiling Mounted Junction Box | 11 | 0% | 11 | EA | 0 | 0 | 0 | 0 | 0 | 0
123 |  |  | Duplex Receptacle GFCI TR | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | 0 | 0
124 |  |  | Duplex Receptacle GFCI TR | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | 0 | 0
125 |  |  | Duplex Receptacle GFCI WP TR | 4 | 0% | 4 | EA | 0 | 0 | 0 | 0 | 0 | 0
126 |  |  | Duplex Receptacle TR | 41 | 0% | 41 | EA | 0 | 0 | 0 | 0 | 0 | 0
127 |  |  | Push Button | 11 | 0% | 11 | EA | 0 | 0 | 0 | 0 | 0 | 0
128 |  |  | Quad Receptacle TR | 4 | 0% | 4 | EA | 0 | 0 | 0 | 0 | 0 | 0
129 |  |  | 30A/1P/208V, Special Receptacle | 54 | 0% | 54 | EA | 0 | 0 | 0 | 0 | 0 | 0
130 |  |  | 40A/1P/208V, Special Receptacle | 54 | 0% | 54 | EA | 0 | 0 | 0 | 0 | 0 | 0
131 |  |  | Duplex Receptacle GFCI TR | 240 | 0% | 240 | EA | 0 | 0 | 0 | 0 | 0 | 0
132 |  |  | Duplex Receptacle GFCI TR WP | 46 | 0% | 46 | EA | 0 | 0 | 0 | 0 | 0 | 0
133 |  |  | Duplex Receptacle TR | 1082 | 0% | 1082 | EA | 0 | 0 | 0 | 0 | 0 | 0
134 |  |  | Junction Box | 191 | 0% | 191 | EA | 0 | 0 | 0 | 0 | 0 | 0
LOW VOLTAGE (Rough In's Only)
CONDUITS
135 |  |  | 1"C Emt | 6580 | 5% | 6909 | LF | 0 | 0 | 0 | 0 | 0 | 0
136 |  |  | Pullstring | 6580 | 5% | 6909 | LF | 0 | 0 | 0 | 0 | 0 | 0
DEVICES
137 |  |  | Back Box | 607 | 0% | 607 | EA | 0 | 0 | 0 | 0 | 0 | 0
138 |  |  | Data Network Jack | 398 | 0% | 398 | EA
139 |  |  | Ceiing Smoke Alarm | 137 | 0% | 137 | EA
140 |  |  | 4 Door Controller | 3 | 0% | 3 | EA
141 |  |  | Card Reader | 3 | 0% | 3 | EA
142 |  |  | Communicator | 1 | 0% | 1 | EA
143 |  |  | Data Network Jack | 1 | 0% | 1 | EA
144 |  |  | Door Contact | 1 | 0% | 1 | EA
145 |  |  | Electric Strike | 3 | 0% | 3 | EA
146 |  |  | Keypad | 1 | 0% | 1 | EA
147 |  |  | Request To Exit | 1 | 0% | 1 | EA
148 |  |  | Security Camera | 2 | 0% | 2 | EA
149 |  |  | Thermostat | 56 | 0% | 56 | EA
FIRE ALARM (Rough In's Only)
CONDUITS
150 |  |  | 1"C Emt | 3262 | 5% | 3425.1 | LF | 0 | 0 | 0 | 0 | 0 | 0
151 |  |  | Pullstring | 3262 | 5% | 3425.1 | LF | 0 | 0 | 0 | 0 | 0 | 0
DEVICES
152 |  |  | Back Box | 227 | 0% | 227 | EA | 0 | 0 | 0 | 0 | 0 | 0
153 |  |  | Fire Monitoring Control Panel | 1 | 0% | 1 | EA
154 |  |  | Intrusion Alarm Panel | 1 | 0% | 1 | EA
155 |  |  | Main Fire Alarm Panel | 1 | 0% | 1 | EA
156 |  |  | Combination Smoke/Co Alarm | 1 | 0% | 1 | EA
157 |  |  | Duct Smoke Detector | 1 | 0% | 1 | EA
158 |  |  | Fire Alarm Beacon WP | 1 | 0% | 1 | EA
159 |  |  | Fire Monitoring Control Panel | 1 | 0% | 1 | EA
160 |  |  | Heat Detector FT | 1 | 0% | 1 | EA
161 |  |  | Horn Strobe | 171 | 0% | 171 | EA
162 |  |  | Intrusion Alarm Panel | 1 | 0% | 1 | EA
163 |  |  | Main Fire Alarm Panel | 1 | 0% | 1 | EA
164 |  |  | Manual Station | 10 | 0% | 10 | EA
165 |  |  | Monitoring Module | 7 | 0% | 7 | EA
166 |  |  | Smoke Detector | 34 | 0% | 34 | EA
167 |  |  | Strobe | 1 | 0% | 1 | EA
|  |  | SUBTOTAL | [9 empty] | 0
[7 empty] | TOTAL LABOR COST |  | 0 | TOTAL MATERIAL COST | 0
|  |  | TOTAL AMOUNT | [9 empty] | 0
|  |  | CONTIGENCIES (5%) | [5 empty] | 5% |  |  |  | 0
|  |  | OVERHEAD & PROFIT (20%) | [5 empty] | 20% |  |  |  | 0
|  |  | TAX (6%) | [5 empty] | 6% |  |  |  | 0
|  |  | INSURANCE | [5 empty] | 5% |  |  |  | 0
|  |  | TOTAL BASEBID | [9 empty] | 0

## Site
DETAILED BREAKDOWN OF ITEMS
[8 empty] | Project Name |  | VISTA GREEN APARTMENTS
[8 empty] | Project Address |  | MARTENSVILLE, SK
[8 empty] | Scope: |  | Electrical
S# | Dwg. | CSI NO | DESCRIPTION | QTY. | Wastage | Qty w/ Waste | UNIT | UNIT LABOR COST | TOTAL LABOR COST | UNIT MATERIAL COST | TOTAL MATERIAL COST | UNIT PRICE (Labor & Material) | TRADE TOTAL
|  | 1 | DIVISION 01-GENERAL REQUIREMENTS
1 |  |  | Permits | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0
2 |  |  | Supervision and Coordination | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0
3 |  |  | Submittals and Shop drawings | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0
4 |  |  | Final Cleaning | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0
5 |  |  | Mobilization Costs | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0
6 |  |  | Temporary Control & Facilities | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0
7 |  |  | Scaffolding | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0
|  |  | SUBTOTAL | [9 empty] | 0
|  | 26 | DIVISION 26- ELECTRICAL
LIGHTING CIRCUITS
CONDUITS
8 |  |  | 1"C Pvc | 1429 | 5% | 1500.45 | LF | 0 | 0 | 0 | 0 | 0 | 0
9 |  |  | 3/4"C Emt | 160 | 5% | 168 | LF | 0 | 0 | 0 | 0 | 0 | 0
CONDUCTORS
10 |  |  | #8 Thwn | 4287 | 5% | 4501.35 | LF | 0 | 0 | 0 | 0 | 0 | 0
11 |  |  | #10 Thhn | 480 | 5% | 504 | LF | 0 | 0 | 0 | 0 | 0 | 0
POWER CIRCUITS
CONDUITS
12 |  |  | 4"C Pvc | 323 | 5% | 339.15 | LF | 0 | 0 | 0 | 0 | 0 | 0
13 |  |  | 1 1/4"C Pvc | 44 | 5% | 46.2 | LF | 0 | 0 | 0 | 0 | 0 | 0
14 |  |  | 1"C Pvc | 2166 | 5% | 2274.3 | LF | 0 | 0 | 0 | 0 | 0 | 0
15 |  |  | 3/4"C Rgs | 7012 | 5% | 7362.6 | LF | 0 | 0 | 0 | 0 | 0 | 0
CONDUCTORS
16 |  |  | #10 Thwn | 27534 | 5% | 28910.7 | LF | 0 | 0 | 0 | 0 | 0 | 0
MISC.
17 |  |  | Trenching and Backfilling | 2353 | 0% | 2353 | LF | 0 | 0 | 0 | 0 | 0 | 0
SITE / DUCTBANK
18 |  |  | 17"x10" 2 Ducts (100mm rpvc): 1 for Telephone, 1 For CATV | 163 | 0% | 163 | EA | 0 | 0 | 0 | 0 | 0 | 0
19 |  |  | 17"x17" 4 Ducts (100mm rpvc) For Secondary Power Cables | 270 | 0% | 270 | EA | 0 | 0 | 0 | 0 | 0 | 0
20 |  |  | 24"X10" 3 Ducts (100mm rpvc): 1 Each For TEL, CATV And Flexnet | 273 | 0% | 273 | EA | 0 | 0 | 0 | 0 | 0 | 0
SITE LIGHT FIXTURES
21 |  |  | 200, MOUNT ON WALL AT 15' AFF / TC CONTROL SEE DETAIL / 4000K / CONFIRM FINISH, SIGNIFY KEENE #LPW-16-30-NW-G3-4-120 | 5 | 0% | 5 | EA | 0 | 0 | 0 | 0 | 0 | 0
22 |  |  | 201, MOUNT ON WALL AT 15' AFF / TC CONTROL SEE DETAIL / 4000K / CONFIRM FINISH, SIGNIFY KEENE #LPW-32-70-NW-G3-4-120 | 4 | 0% | 4 | EA | 0 | 0 | 0 | 0 | 0 | 0
23 |  |  | 300, MOUNT ON 20' POLE, / SINGLE HEAD / INTERNAL HOUSE SIDE SHIELD / TC CONTROL SEE DETAIL / 4000K / CONFIRM FINISH, SIGNIFY GARDCO #ECF-S-32L-530-NW-G2-4-HIS | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | 0 | 0
24 |  |  | 301, MOUNT ON 20' POLE, / SINGLE HEAD / INTERNAL HOUSE SIDE SHIELD / TC CONTROL SEE DETAIL / 4000K / CONFIRM FINISH, SIGNIFY GARDCO #ECF-S-32L-530-NW-G2-3-HIS | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
25 |  |  | 302, MOUNT ON 20' POLE, / SINGLE HEAD / INTERNAL HOUSE SIDE SHIELD / TC CONTROL SEE DETAIL / 4000K / CONFIRM FINISH, SIGNIFY GARDCO #ECF-S-48L-900-NW-G2-4-HIS | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | 0 | 0
26 |  |  | 303, MOUNT ON 20' POLE, / DUAL HEAD / TC CONTROL SEE DETAIL / 4000K / CONFIRM FINISH, SIGNIFY GARDCO #ECF-S-48L-900-NW-G2-4 | 3 | 0% | 3 | EA | 0 | 0 | 0 | 0 | 0 | 0
SITE LIGHT POLES
27 |  |  | 20' Double Head Site Lighting Pole | 3 | 0% | 3 | EA | 0 | 0 | 0 | 0 | 0 | 0
28 |  |  | 20' Single Head Site Lighting Pole | 5 | 0% | 5 | EA | 0 | 0 | 0 | 0 | 0 | 0
|  |  | SUBTOTAL | [9 empty] | 0
[7 empty] | TOTAL LABOR COST |  | 0 | TOTAL MATERIAL COST | 0
|  |  | TOTAL AMOUNT | [9 empty] | 0
|  |  | CONTIGENCIES (5%) | [5 empty] | 5% |  |  |  | 0
|  |  | OVERHEAD & PROFIT (20%) | [5 empty] | 20% |  |  |  | 0
|  |  | TAX (6%) | [5 empty] | 6% |  |  |  | 0
|  |  | INSURANCE | [5 empty] | 5% |  |  |  | 0
|  |  | TOTAL BASEBID | [9 empty] | 0

## LABOR SHEET
| Labor Type | Labor Rate
Carpenter | CARP | 60
Plumbing | Plum | 70
Mechanical | Mech | 70
Electrical | Elec | 70
Earthwork | Q14C | 60
Drywaller | Drywaller | 60
Finisher | Finisher | 55
Painting | Painter | 50
Tile Contractor | Tilf | 60
CMU/Stone | D8 | 70
Concrete | B14S | 70
Metal | Steel | 70
Roofing | Roofer | 70
Genral Labor | Labor | 85
Exterior Improvement | B15S | 65
Misc | Misc | 45
Manhour Increase Factor | 0%
Wastage
Each/Count | EA | 0%
Linear Footage | LF | 5%
Square Footage | SF | 10%
Square Yard | SY | 10%
Cubic Yard | CY | 10%
Lumpsum | LS | 0%
Survery | Survey | 0%
Stair Riser | RISER | 0%
Blocks Count | BLOCKS | 0%
Bags of Pre-Mix Mortar | BAGS | 0%
Linear Footage of Wall | LF.Wall | 10%
Pounds | LBS | 10%
Pieces | PCs | 0%
Location | LOC | 0%
Bundle | Bundle | 10%
Rolls | ROLLS | 0%
Boxes | BOX | 0%
Holeses | Holes | 0%
Pieces | PC | 0%
Tubes | Tube | 0%
Gallons | GA | 0%
Square of Roofing | SQ | 10%
N/A | N/A | 0%
NOTE:
Prevailing wages have been included in this estimate in compliance with the Davis-Bacon Act.
Material pricing is based on current market rates sourced from reputable online platforms and suppliers.
Please note that actual costs may vary depending on site-specific conditions, unforeseen circumstances, or changes in market conditions.